## 08_DI_Report_DAKO1581
Test Name | After Import | After Import | After Import | Before Import | Before Import | Differences | Cyient Comments
RUN_TIME | 23.85 |  |  | 26.4
CURRENT_ALTERNATIVE | electric |  |  | electric
TRACE_BOUNDS | 0 |  |  | 0
FEEDER_NUMBER | DAKO1581 |  |  | DAKO1581
CONFIG_FILE | G:\DeveloperEnvirons43\Cyient\GIS_Product\modules\xcel_common_modules\data_integrity_tool\resources\base\data\xcel_gis_devices.cel |  |  | G:\DeveloperEnvirons43\Cyient\GIS_Product\modules\xcel_common_modules\data_integrity_tool\resources\base\data\xcel_gis_devices.cel
TRACED_TRANSFORMERS | 153 |  |  | 153 |  | 0
LOT_CENTROIDS | 1842 |  |  | 1842 |  | 0
ADMS Duplicate Feeder Lookup Entries
ADMS Invalid Open Points
ADMS Invalid Phase Units | OH Switch | edist_oh_switch | 234501854, |  |  | 234501854, | Invalid phase units are marked for delete.
ADMS Invalid TIE Switches
ADMS OH/UG Primary Missing Wires/Cables
ADMS Objects Connected to 2 Busbars
ADMS Objects Missing Geometries | Objects Missing Actual Geometry | edist_oh_primary | 89302848,122912910,148855325,148865630,216963667,220346982,248973437,248973463,248973487,248973509,263464902,347704304,347704406,371073858,391812238,391812271,399052155,401523776,410071138,423648601,423648639,423648667,449826759,462809118,526278838,526278846,526278854,526278862,526278876,526278884,526278892,526278902, |  | 89302848,122912910,148855325,148865630,216963667,220346982,248973437,248973463,248973487,248973509,263464902,347704304,347704406,371073858,391812238,391812271,399052155,401523776,410071138,423648601,423648639,423648667,449826759,462809118, | 526278884,526278876,526278862,526278854,526278902,526278846,526278838,526278892, | Newly inserted conductors does not having actual routes.
ADMS Objects Missing Geometries | Objects Missing Actual Geometry | edist_ug_primary | 102370497,102370572,107474810,148855436,216955054,371073979,374479429,374479570,374479640,384871548,385727519,385727552,385727582,385727598,399051755,399052077,411175235,418398475,418398511,418398736,418398925,418399030,418399054,418399159,418399196,418399228,418399247,426018051,433442796,433442831,462808445,471152610,471710327,475912385,475912442,475912463, |  | 102370497,102370572,107474810,148855436,216955054,371073979,374479429,374479570,374479640,384871548,385727519,385727552,385727582,385727598,399051755,399052077,411175235,418398475,418398511,418398736,418398925,418399030,418399054,418399159,418399196,418399228,418399247,426018051,433442796,433442831,462808445,471152610,471710327,475912385,475912442,475912463, | No Difference
ADMS Objects with No Length
ADMS Transformers with Incorrect units | Incorrect Number of Units | edist_oh_transformer_bank | 237650799, |  |  | 237650799, | Incorrect phase units marked for delete.
ADMS Transformers with Incorrect units | Xfmr has No Valid Units | edist_oh_transformer_bank | 236263972,237153623, |  | 236263972,237153623, | No Difference
ADMS Transformers with No Units
Device Not Connected to Primary
End Of Primary
Feeder Number and/or Voltage Changed
Incorrect Phasing
Not Found Via Feeder Joins
Required Attributes Missing | edist_oh_fuse | 527634335 | xcel_energy_device_id,not_null,unset, |  |  | 527634335 | Newly inserted device, no values found on filed.
|  | 527634335 | xcel_energy_field_stencil,not_null,unset, |  |  | 527634335 | Newly inserted device, no values found on filed.
Required Attributes Missing | edist_oh_fuse | 527634352 | xcel_energy_device_id,not_null,unset, |  |  | 527634352 | Newly inserted device, no values found on filed.
|  | 527634352 | xcel_energy_field_stencil,not_null,unset, |  |  | 527634352 | Newly inserted device, no values found on filed.
Untraced Objects