## 08_DI_Report_ARVA1700
Test Name | After Import | After Import | After Import | Before Import | Before Import | Differences | Comments
RUN_TIME | 50.78 |  |  | 37.13
CURRENT_ALTERNATIVE | electric |  |  | electric
TRACE_BOUNDS | 0 |  |  | 0
FEEDER_NUMBER | ARVA1700 |  |  | ARVA1700
CONFIG_FILE | G:\DeveloperEnvirons43\Cyient\GIS_Product\modules\xcel_common_modules\data_integrity_tool\resources\base\data\xcel_gis_devices.cel |  |  | G:\DeveloperEnvirons43\Cyient\GIS_Product\modules\xcel_common_modules\data_integrity_tool\resources\base\data\xcel_gis_devices.cel
TRACED_TRANSFORMERS | 397 |  |  | 396 |  | 1
LOT_CENTROIDS | 2426 |  |  | 2426 |  | 0
ADMS Duplicate Feeder Lookup Entries
ADMS Invalid Open Points | UG Fuse | edist_ug_fuse | 234364313,234364372,234364385,234364398,393102957, |  | 234364313,234364372,234364385,234364398,393102957, | No Difference
ADMS Invalid Open Points | OH Fuse | edist_oh_fuse | 233911329, |  |  | 233911329, | As per vender photo fuse appeared as open and there is a three way junction, hence we are unavailable to coonecte at end point of the conductor.Hence this is reported as invalid opne points.
ADMS Invalid Open Points | Primary Open Point | edist_primary_open_point | 487506940, |  | 487506940, | No Difference
ADMS Invalid Phase Units | UG Fuse | edist_ug_fuse | 234275051, |  | 234275051, | No Difference
ADMS Invalid TIE Switches
ADMS OH/UG Primary Missing Wires/Cables
ADMS Objects Connected to 2 Busbars
ADMS Objects Missing Geometries | Objects Missing Actual Geometry | edist_ug_primary | 103043358,110727212,110727245,124764363,124764409,125326037,125326359,125326480,125326618,143475453,144055201,148862723,148862755,156586262,156646885,156694703,157799882,217514959,220404420,220424255,324692955,343762635,354174993,393103546,393103578,393103615,393103787,396680511,396680654,396955131,412784928,413487805,413487830,413487849,432607212,432607312,432607330,432607525,444613319,448187655,450746141,453014813,466690798,473164800,473164809,473164819,474844944,474844963,474844984,474845003,474845022,474845043,474845062,474845093,474845112,474845131,474845150,474845169,474845198,474845227,474845256,474845275,476687585,484114701,487506920,487660021,489061119,489061148,489061169,489061235,489061294,510127383, |  | 103043358,110727212,110727245,124764363,124764409,125326037,125326359,125326480,125326618,143475453,144055201,148862723,148862755,156586262,156646885,156694703,157799882,217514959,220404420,220424255,324692955,343762635,354174993,393103546,393103578,393103615,393103787,396680511,396680654,396955131,412784928,413487805,413487830,413487849,432607212,432607312,432607330,432607525,444613319,448187655,450746141,453014813,466690798,473164800,473164809,473164819,474844944,474844963,474844984,474845003,474845022,474845043,474845062,474845093,474845112,474845131,474845150,474845169,474845198,474845227,474845256,474845275,476687585,484114701,487506920,487660021,489061119,489061148,489061169,489061235,489061294, | 510127383, | Newly isnserted Primaries doesn’t actual route.
ADMS Objects Missing Geometries | Objects Missing Actual Geometry | edist_oh_primary | 114326861,114326882,114326904,114326926,118197879,118197902,118197925,118197944,118197967,118197987,118198006,118198025,118198044,118198063,118198082,118198103,118198118,118198133,118198148,118198171,118198251,118198298,118198541,120423392,120423433,120423462,120423974,120424011,120424048,120424092,120424139,120424180,120424422,120424600,125325592,240382874,243514448,324692892,354174967,358279608,385514321,385514356,385514420,385514500,385514548,385514559,388275778,388275803,388275823,388275849,388275864,389833249,393103060,396680492,417304286,417304361,459758377,459758435,459758509,459758690,459758746,465518877,466690749,468194959,473164946,474844921,475720275,475800198,483492601,483492621,527569905,527569915,527569929,527569937,527569951,527569959,527569973,527569983,527569991,527570005,527570013,527570027,527570041,527570049,527570063,527570071,527570079,527570087,527570097,527570111, |  | 114326861,114326882,114326904,114326926,118197879,118197902,118197925,118197944,118197967,118197987,118198006,118198025,118198044,118198063,118198082,118198103,118198118,118198133,118198148,118198171,118198251,118198298,118198541,120423392,120423433,120423462,120423974,120424011,120424048,120424092,120424139,120424180,120424422,120424600,125325592,240382874,243514448,324692892,354174967,358279608,385514321,385514356,385514420,385514500,385514548,385514559,388275778,388275803,388275823,388275849,388275864,389833249,393103060,396680492,417304286,417304361,459758377,459758435,459758509,459758690,459758746,465518877,466690749,468194959,473164946,474844921,475720275,475800198, | 527569937,527570111,527569983,527570071,527570041,527570027,527569991,483492601,527570097,527569929,527570049,483492621,527569951,527570087,527570005,527569905,527570013,527569973,527569959,527570079,527569915,527570063, | Newly isnserted Primaries doesn’t actual route.
ADMS Objects with No Length
ADMS Transformers with Incorrect units
ADMS Transformers with No Units
Device Not Connected to Primary
End Of Primary | edist_ug_primary | 220413123 | 489061294,489061119, |  | 489061294,489061119, | No Difference
Feeder Number and/or Voltage Changed
Incorrect Phasing | edist_oh_fuse | 234014747 | Incoming Phases -A,Phases -AB, |  | Incoming Phases -A,Phases -AB, | No Difference
Incorrect Phasing | edist_oh_primary | 527569973 | Incoming Phases -C,Phases -BC, |  |  | 527569973 | As per vendor provided photo one single phase fuse (527589804) is connected with this primary, and this is two phase primary.Hence it is reported as incorrect phasing.
Not Found Via Feeder Joins
Required Attributes Missing | edist_oh_fuse | 527589906 | xcel_energy_device_id,not_null,unset, |  |  | 527589906 | New Inserted feature, Values not found on Field
|  | 527589906 | xcel_energy_field_stencil,not_null,unset, |  |  | 527589906 | New Inserted feature, Values not found on Field
Untraced Objects