## 08_DI_Report_SHER2013
Test Name | After Import | After Import | After Import | Before Import | Before Import | Differences | Comments
RUN_TIME | 36.86 |  |  | 31.41
CURRENT_ALTERNATIVE | electric |  |  | electric
TRACE_BOUNDS | 0 |  |  | 0
FEEDER_NUMBER | SHER2013 |  |  | SHER2013
CONFIG_FILE | G:\DeveloperEnvirons43\Cyient\GIS_Product\modules\xcel_common_modules\data_integrity_tool\resources\base\data\xcel_gis_devices.cel |  |  | G:\DeveloperEnvirons43\Cyient\GIS_Product\modules\xcel_common_modules\data_integrity_tool\resources\base\data\xcel_gis_devices.cel
TRACED_TRANSFORMERS | 174 |  |  | 177 |  | 3 | Merge down issue, related transformers deleted while merge down.
LOT_CENTROIDS | 1133 |  |  | 1171 |  | 38
ADMS Duplicate Feeder Lookup Entries
ADMS Duplicate Feeder Lookup Entries
ADMS Invalid Open Points | OH Fuse | edist_oh_fuse | 395956428, |  |  | 395956428, | As per vendor photo fuse Normal positions are apeared as Open. Hence these are reported as Invalid Open Points.
ADMS Invalid Phase Units
ADMS Invalid TIE Switches
ADMS OH/UG Primary Missing Wires/Cables
ADMS Objects Connected to 2 Busbars
ADMS Objects Missing Geometries | Objects Missing Actual Geometry | edist_ug_primary | 67029429,68073021,131091977,215383960,215467462,215467480,215468086,215468128,216944469,220104045,220200160,220206520,220276879,220396196,220531933,220532068,221200019,221225664,221277428,221277482,331477307,379529646,379529657,379529679,379529690,379529701,388861238,388861325,388861345,412411650,443775249,445289717,445289807,445289862,445289906,453018487,453018766,453019002,453019146,453019164,453019346,453019385,453019529,453019595,453019808,465341386,465341435,474487013,474841909,474841928,474841947,474841966,474841985,474842006,474842027,474842056,492016876,492016901,492016941,527271668, |  | 67029429,68073021,131091977,215383960,215467462,215467480,215468086,215468128,216944469,220104045,220200160,220206520,220276879,220396196,220531933,220532068,221200019,221225664,221277428,221277482,331477307,379529646,379529657,379529679,379529690,379529701,388861238,388861325,388861345,412411650,443775249,445289717,445289807,445289862,445289906,453018487,453018766,453019002,453019146,453019164,453019346,453019385,453019529,453019595,453019808,465341386,465341435,474487013,474841909,474841928,474841947,474841966,474841985,474842006,474842027,474842056,492016876,492016901,492016941, | 527271668, | Newly inserted features doesn't have actual route.
ADMS Objects Missing Geometries | Objects Missing Actual Geometry | edist_oh_primary | 215461344,215461388,215461695,215462322,215465864,215465975,215467791,215467841,215467925,215468057,220779373,221509390,221509637,388861472,388861523,389186656,395956239,395956365,395956383,425975922,436262898,436263132,436263222,436263457,436263854,438399333,438399386,438399622,438399793,438557439,438557629,438557771,441688790,441688903,441689022,441689202,441767094,441767227,441767341,441767576,441767616,441767693,441767888,441767926,441767964,441768002,441768064,441768166,441768307,441768419,441768637,441768724,441768768,441768864,441768910,444156446,445289677,448332697,448332752,448332836,450069191,453019790,455980577,457659961,458399952,474841865,526958966,526958980,526958988,526959002,526959016,526959030,526959052,526959062,527271034,527271042,527271056,527271066,527271080,527271088,527271102, |  | 215461344,215461388,215461695,215462322,215465864,215465975,215467791,215467841,215467925,215468057,220779373,221509390,221509637,388861472,388861523,389186656,395956239,395956365,395956383,425975922,436262898,436263132,436263222,436263457,436263854,438399333,438399386,438399622,438399793,438557439,438557629,438557771,441688790,441688903,441689022,441689202,441767094,441767227,441767341,441767576,441767616,441767693,441767888,441767926,441767964,441768002,441768064,441768166,441768307,441768419,441768637,441768724,441768768,441768864,441768910,444156446,445289677,448332697,448332752,448332836,450069191,453019790,455980577,457659961,458399952,474841865,
ADMS Objects with No Length
ADMS Transformers with Incorrect units | Xfmr has No Valid Units | edist_oh_transformer_bank | 236057896,237860824, |  | 236057896,237860824, | No Difference
ADMS Transformers with Incorrect units
ADMS Transformers with No Units
Device Not Connected to Primary | edist_circuit_breaker | edist_circuit_breaker | 58579006,460122824, |  | 58579006,460122824, | No Difference
End Of Primary
Feeder Number and/or Voltage Changed | edist_ug_primary | edist_ug_primary
Feeder Number and/or Voltage Changed | edist_oh_primary | edist_oh_primary
Incorrect Phasing
Not Found Via Feeder Joins
Required Attributes Missing
Untraced Objects | distributed_generation | distributed_generation | 438348247, |  | 438348247, | No Difference